## K-Wall-Therm Results
KWALL - South Corner
IP [Btu/hr-ft2-F]
| Frame | Edge | Center
Hor-Intermediate | 0 | 0 | 0
Hor-End1 | 0.046442 | 0.049718
Hor-End2 | 0 | 0
Ver-Head | 0 | 0
Ver-Sill | 0 | 0
SI [W/m2-k]
| Frame | Edge | Center
Hor-Intermediate | 0 | 0 | 0
Hor-End1 | 0.2637 | 0.2823
Hor-End2 | 0 | 0
Ver-Head | 0 | 0
Ver-Sill | 0 | 0
Frame Width = | 0.549 | m
Edge Width = | 0.066 | m
Uvalue = | 0.2657 | W/m2-K
Uvalue = | 0.046794 | Btu/hr-ft-F

## Materials
Material | k
W/mK
Wood studs | 0.14
Blown-in cellulose insulation: | 0.04
Gypsum board | 0.1601
Plywood: | 0.1356
Clapboards: | 0.1082