## Thermistor
Channel | Plot name | North | East | Height
Cell-Exp-3B/X3B-tms_s_176_17_C119 | South_T1 |  | 175 | 14
Cell-Exp-3B/X3B-tms_fpa_nm_c276 | South_T2 |  | 206 | 20
Cell-Exp-3B/X3B-tms_fpa_nw_c275 | South_T3 |  | 141 | 23
Cell-Exp-3B/X3B-tms_s_56_17_C104 | South_T4 |  | 59 | 14
Cell-Exp-3B/X3B-TMR_290 | South_T5 |  | 24 | 13
Cell-Exp-3B/X3B-tms_sir_east_c254 | South_T6 |  | 36 | 23
Cell-Exp-3B/X3B-tms_s_116_17_C118 | South_T7 |  | 117 | 14
Cell-Exp-3B/X3B-tms_sir_west_c77 | South_T8 |  | 210 | 59
Cell-Exp-3B/X3B-TMR_285 | South_T9 |  | 188 | 56
Cell-Exp-3B/X3B-TMR_294 | South_T10 |  | 91 | 68
Cell-Exp-3B/X3B-tms_fpa_se_c295 | South_T11 |  | 36 | 63
Cell-Exp-3B/X3B-TMR_289 | South_T12 |  | 191 | 14
Cell-Exp-3B/X3B-TMR_284 | South_T13 |  | 203 | 16
Cell-Exp-3B/X3B-tms_w_98_83_c28 | West_T1 | 29 |  | 78
Cell-Exp-3B/X3B-tms_fpa_sw_c280 | West_T2 | 82 |  | 51
Cell-Exp-3B/X3B-tms_fpa_mm_c277 | West_T3 | 152 |  | 53
Cell-Exp-3B/X3B-tms_w_98_40_c47 | West_T4 | 29 |  | 33
Cell-Exp-3B/X3B-tms_w_282_40_c114 | West_T5 | 214 |  | 33
Cell-Exp-3B/X3B-tms_w_282_83_c113 | West_T6 | 214 |  | 78
Cell-Exp-3B/X3B-tms_column_sw_w_353_83_c102 | West_T7 | 277 |  | 79
Cell-Exp-3B/X3B-tms_column_sw_s_353_83_c101 | West_T8 | 278 |  | 79
Cell-Exp-3B/X3B-tms_column_sw_w_360_83_c103 | West_T9 | 284 |  | 79
Cell-Exp-3B/X3B-tms_e_98_40_c38 | East_T1 | 29 |  | 33
Cell-Exp-3B/X3B-tms_spare_e1_c298 | East_T2 | 82 |  | 53
Cell-Exp-3B/X3B-tms_e_98_83_c21 | East_T3 | 29 |  | 77
Cell-Exp-3B/X3B-tms_fpa_ne_c297 | East_T4 | 153 |  | 53
Cell-Exp-3B/X3B-TMR_292 | East_T5 | 179 |  | 8
Cell-Exp-3B/X3B-TMR_293 | East_T6 | 189 |  | 17
Cell-Exp-3B/X3B-tms_fpa_me_c296 | East_T7 | 211 |  | 52
Cell-Exp-3B/X3B-tms_e_282_40_c110 | East_T8 | 217 |  | 32
Cell-Exp-3B/X3B-tms_e_282_83_c109 | East_T9 | 217 |  | 78
Cell-Exp-3B/X3B-tms_column_se_s_353_83_c107 | East_T10 | 278 |  | 78
Cell-Exp-3B/X3B-tms_column_se_e_353_83_c106 | East_T11 | 280 |  | 78
Cell-Exp-3B/X3B-tms_column_se_e_360_83_c105 | East_T12 | 291 |  | 78
Cell-Exp-2B/X2B-tms_fir_nw_c125 | Floor_T1 | 51 | 194
Cell-Exp-2B/X2B-tms_fir_nm_c126 | Floor_T2 | 45 | 121
Cell-Exp-3B/X3B-tms_fir_mm_c270 | Floor_T3 | 147 | 115
Cell-Exp-3B/X3B-tms_fir_mw_c269 | Floor_T4 | 147 | 194
Cell-Exp-3B/X3B-tms_fir_me_c271 | Floor_T5 | 150 | 67
Cell-Exp-2B/X2B-tms_fir_ne_c127 | Floor_T6 | 48 | 46
Cell-Exp-3B/X3B-TMR_291 | Floor_T7 | 179 | 4
Cell-Exp-3B/X3B-tms_fir_se_c268 | Floor_T8 | 251 | 34
Cell-Exp-3B/X3B-tms_cylinder_high_c273 | Floor_T9 | 245 | 104
Cell-Exp-3B/X3B-tms_fpa_sm_c279 | Floor_T10 | 224 | 121
Cell-Exp-3B/X3B-tms_fir_sw_c266 | Floor_T11 | 247 | 192
Cell-Exp-2B/X2B-tms_nir_180_35_c38 | North_T1 |  | 180 | 79
Cell-Exp-2B/X2B-tms_nir_120_35_c37 | North_T2 |  | 180 | 32
Cell-Exp-2B/X2B-tms_nir_180_84_c35 | North_T3 |  | 121 | 32
Cell-Exp-2B/X2B-tms_nir_120_84_c34 | North_T4 |  | 61 | 79
Cell-Exp-2B/X2B-tms_nir_60_84_c33 | North_T5 |  | 61 | 32
Cell-Exp-3B/X3B-tms_dcbottom_232_180_c192 | Ceiling_T1 | 82 | 64
Cell-Exp-3B/X3B-tms_dcbottom_232_60_c194 | Ceiling_T2 | 82 | 187
Cell-Exp-3B/X3B-tms_dcbottom_144_60_c191 | Ceiling_T3 | 157 | 187
Cell-Exp-3B/X3B-tms_dcbottom_144_120_c190 | Ceiling_T4 | 157 | 119
Cell-Exp-3B/X3B-tms_dcbottom_72_180_c186 | Ceiling_T5 | 236 | 62
Cell-Exp-3B/X3B-tms_dcbottom_72_60_c188 | Ceiling_T6 | 230 | 184
Cell-Exp-3B/X3B-tms_dcbottom_72_120_c187 | Ceiling_T7 | 227 | 134

## Heat flux sensor
Channel | Plot name | Surface | North | East | Height
/2020/X3B/Labjack/June2021/SouthWall_HeatFluxOut_Frame-Junction | Frame-Junction | South |  | 145 | 67
/2020/X3B/Labjack/June2021/SouthWall_HeatFluxOut_Glass-Right | Glass-Right | South |  | 213 | 59
/2020/X3B/Labjack/June2021/SouthWall_Glass-Left | Glass-Left | South |  | 23 | 86
/2020/X3B/Labjack/June2021/SouthWall_HeatFluxOut_Stud-Left1 | Stud-Left1 | South |  | 29 | 15
/2020/X3B/Labjack/June2021/SouthWall_HeatFluxOut_Glass-Middle | Glass-Middle | South |  | 124 | 59
/2020/X3B/Labjack/June2021/SouthWall_HeatFluxOut_Stud-Right1 | Stud-Right1 | South |  | 109 | 18
/2020/X3B/Labjack/June2021/SouthWall_HeatFluxOut_Stud-Left2 | Stud-Left2 | South |  | 48 | 16
/2020/X3B/Labjack/June2021/SouthWall_HeatFluxOut_Wall-Middle | Wall-Middle | South |  | 140 | 26
/2020/X3B/Labjack/June2021/SouthWall_HeatFluxOut_Stud-Right2 | Stud-Right2 | South |  | 123 | 67
/2020/X3B/Labjack/June2021/SouthWall_HeatFluxOut_Wall_Bottom-Left | Bottom-Left | South |  | 87 | 1
/2020/X3B/Labjack/June2021/SouthWall_HeatFluxOut_Wall_Left-Top | Left-Top | South |  | 87 | 27
/2020/X3B/Labjack/June2021/SouthWall_HeatFluxOut_Wall_Middle-Left | Middle-Left | South |  | 86 | 16
/2020/X3B/Labjack/June2021/SouthWall_HeatFluxOut_Wall_Top-Right | Top-Right | South |  | 196 | 26
/2020/X3B/Labjack/June2021/SouthWall_HeatFluxOut_Wall_Middle-Right | Middle-Right | South |  | 195 | 16
/2020/X3B/Labjack/June2021/TemporaryNorthWall_HeatFluxOut_Edge-Right | Edge-Right | North |  | 3.25 | 52
/2020/X3B/Labjack/June2021/TemporaryNorthWall_HeatFluxOut_Door | Door | North |  | 22 | 76.5
/2020/X3B/Labjack/June2021/TemporaryNorthWall_HeatFluxOut_Middle-Center | Middle-Center | North |  | 105 | 55
/2020/X3B/Labjack/June2021/DropCeiling_HeatFluxOut_North-Center | North-Center | Ceiling | 78 | 110
/2020/X3B/Labjack/June2021/DropCeiling_HeatFluxOut_South-Center | South-Center | Ceiling | 225 | 137
/2020/X3B/Labjack/June2021/DropCeiling_HeatFluxOut_FarSouth-Center | FarSouth-Center | Ceiling | 278 | 109
/2020/X3B/Labjack/June2021/EastWall_HeatFluxOut_Bottom-Left | Bottom-Left | East | 38 |  | 16
/2020/X3B/Labjack/June2021/EastWall_HeatFluxOut_Edge-Top | Edge-Top | East | 151 |  | 99.5
/2020/X3B/Labjack/June2021/EastWall_HeatFluxOut_Edge-Bottom | Edge-Bottom | East | 149.5 |  | 7.5
/2020/X3B/Labjack/June2021/WestWall_HeatFluxOut_Edge-Left | Edge-Left | West | 291 |  | 51
/2020/X3B/Labjack/June2021/WestWall_HeatFluxOut_Top-Left | Top-Left | West | 264 |  | 85
/2020/X3B/Labjack/June2021/WestWall_HeatFluxOut_Edge-Bottom | Edge-Bottom | West | 132 |  | 3
/2020/X3B/Labjack/June2021/FloorPlywood_HeatFluxOut_South_West_0 | South-West0 | Floor | 296 | 234.5
/2020/X3B/Labjack/June2021/FloorPlywood_HeatFluxOut_South_East_2 | South-East2 | Floor | 226 | 60.5
/2020/X3B/Labjack/June2021/FloorPlywood_HeatFluxOut_East_Center_1 | East-Center1 | Floor | 149.5 | 12